MNS-QT331 Infrared methane gas sensor

Product Description

The MNS-QT331 infrared methane gas sensor utilizes the non-dispersive infrared (NDIR) principle to detect methane gas present in the air. The sensor exhibits excellent selectivity, is oxygen-independent, and boasts stable and reliable technical parameters, along with a long product lifespan. It also features a built-in temperature compensation function.

The MNS-QT331 infrared methane gas sensor utilizes infrared spectral absorption technology. It features a built-in micro precision gas circuit, crafted through meticulous post-processing, along with exquisite circuit design and precise academic algorithms to ensure accurate and stable signal data collection from the sensor. The product is easy to use and has a lifespan of over 5 years.

Key Features

◆ High sensitivity, high resolution, low power consumption, and fast response time

◆ Provides multiple output modes such as UART and analog voltage

◆ Temperature compensation, excellent linear output, superior stability, and long service life

◆ Resistance to water vapor interference and poisoning

◆ Use in online monitoring of industrial instruments

◆ Monitoring of gas power generation equipment

◆ Monitoring and use of industrial pipe gallery

Main applications

◆ Detection of flammable and explosive gases

Technical specifications

Structural dimensions（Unit：mm）

Pin definition

Usage Diagram